| CTD Cast Name |  | Cruise |  |  |  |  |  | CTD Number |  |  | Date |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | EX1104 |  |  |  |  |  | CTD03 |  |  | 8/7/11 |  |  |  |  |  |  |
| Expedition Coordinator/ Science Team Lead |  | Kelley Elliott/Chris German |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General Area Descriptor |  | Cayman Islands |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Name |  | Von Damm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of CTD Operation |  | Vertical Cast Po-Go |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Tow-Yo Combination |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Target Position |  | 18° 21.71’N |  | 18° 21.706’N |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 081° 49.63’W |  | 081° 49.632’W |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Deployment Time & Location |  | UTC Time | 00:00 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Latitude | 18 |  | º | 21.706 |  |  |  |  |  |  | ‘ |  |  | N |  |
|  |  | Longitude | 81 |  | º | 49.632 |  |  |  |  |  |  | ‘ |  |  | W |  |
| Time & Location At Depth |  | UTC Time | 0045 |  | Target Depth/Range |  |  |  |  | 20 mab |  |  |  |  |  |  |  |
|  |  | Latitude | 18 |  | º |  | 21.706 |  |  |  |  |  |  | ‘ |  |  | N |
|  |  | Longitude | 81 |  | º |  | 49.631 |  |  |  |  |  |  | ‘ |  |  | W |
| Recovery Time & Location |  | UTC Time | 0456 |  | Maximum Depth (m) |  |  |  |  | 2410 |  |  |  |  |  |  |  |
|  |  | Latitude | 18 |  | º | 22.134 |  |  |  |  |  | ‘ |  |  | N |  |  |
|  |  | Longitude | 81 |  | º | 48.768 |  |  |  |  |  | ‘ |  |  | W |  |  |
| CTD Sensor Data Acquired |  | CTD P 0905 T1 5001 T2 5017 C1 3449 C2 3451 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | ORP 08 Votage Channel 05 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LSS 12790 Voltage Channel 02 LSS 12791 Voltage Channel 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Dissolved Oxygen Voltage Channel __ Altimeter Voltage Channel 00 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Other (specify) ____________ Voltage Channel __ ____________ Voltage Channel __ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Samples Collected? |  | Yes No If Yes, Number of Bottles Tripped: ____20_________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample Processing |  | Sample Type(s): ___Methane, TOC, Microbiology________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Processed on board Preserved Chemicals __Formalin__________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | None Room Temp Storage -80 Freezer -20 Freezer Refrigerator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Data Archival |  | Tethys FTP site |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Equipment Malfunctions | Bottle 11 did not close, position 15 did not fire. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Special Notes | Tow yo reversed (SW-NE) due to weather |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Scientists Involved (name / location / affiliation / email) |  | cgerman@whoi.edu & cmcintyre@whoi.edu (WHOI) Sarah.A.Bennett@jpl.nasa.gov (NASA-JPL), J. Kinsey (WHOI), J. Huber (MBL) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Purpose of the CTD operation: Tracking the Von Damm plume toward Europa. |  |
| --- | --- |
| Description of the Data/Results: |  |
| No signals in LSS for entire cast. Signal in final ORP upcast only. CH4 anomalies at all 3 Pogo legs. Plume traced to end point, 4 km from source. |  |
| Overall Map of CTD Cast Area | Screen Grab of Data |
| Overview of Cast site | SeaSave Data Acquisition Screen |
| Please direct inquiries to: | NOAA Office of Ocean Exploration & Research 1315 East-West Highway (SSMC3 10th Floor) Silver Spring, MD 20910 (301) 734-1014 |