| CTD Cast Name |  | Cruise |  |  |  |  |  | CTD Number |  |  | Date |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | EX1104 |  |  |  |  |  | CTD04 |  |  | 8/8/11 |  |  |  |  |  |  |
| Expedition Coordinator/ Science Team Lead |  | Kelley Elliott/Chris German |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General Area Descriptor |  | Cayman Islands |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Name |  | Europa |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of CTD Operation |  | Vertical Cast Po-Go |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Tow-Yo Combination |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Target Position |  | 18° 21.27’N |  | 18° 21.26’N |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 081° 50.57’W |  | 081° 50.576’W |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Deployment Time & Location |  | UTC Time | 23:57 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Latitude | 18 |  | º | 21.265 |  |  |  |  |  |  | ‘ |  |  | N |  |
|  |  | Longitude | 81 |  | º | 50.576 |  |  |  |  |  |  | ‘ |  |  | W |  |
| Time & Location At Depth |  | UTC Time | 00:47 |  | Target Depth/Range |  |  |  |  | 20 mab |  |  |  |  |  |  |  |
|  |  | Latitude | 18 |  | º |  | 21.264 |  |  |  |  |  |  | ‘ |  |  | N |
|  |  | Longitude | 81 |  | º |  | 49.576 |  |  |  |  |  |  | ‘ |  |  | W |
| Recovery Time & Location |  | UTC Time | 04:53 |  | Maximum Depth (m) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Latitude | 18 |  | º | 22.659 |  |  |  |  |  | ‘ |  |  | N |  |  |
|  |  | Longitude | 81 |  | º | 48.723 |  |  |  |  |  | ‘ |  |  | W |  |  |
| CTD Sensor Data Acquired |  | CTD P 0905 T1 5001 T2 5017 C1 3449 C2 3451 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | ORP 08 Votage Channel 05 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LSS 12790 Voltage Channel 02 LSS 12791 Voltage Channel 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Dissolved Oxygen Voltage Channel __ Altimeter Voltage Channel 00 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Other (specify) ____________ Voltage Channel __ ____________ Voltage Channel __ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Samples Collected? |  | Yes No If Yes, Number of Bottles Tripped: ____20_________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample Processing |  | Sample Type(s): ___Methane, TOC, Cell counts________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Processed on board Preserved Chemicals __Formalin__________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | None Room Temp Storage -80 Freezer -20 Freezer Refrigerator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Data Archival |  | Tethys FTP site |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Equipment Malfunctions | Bottle 11 did not close, position 15 did not fire. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Special Notes | Replicate samples from bottle 4, bottle 5  proves no leak on bottle 4. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Scientists Involved (name / location / affiliation / email) |  | cgerman@whoi.edu & cmcintyre@whoi.edu (WHOI) Sarah.A.Bennett@jpl.nasa.gov (NASA-JPL), J. Kinsey (WHOI), J. Huber (MBL) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Purpose of the CTD operation: Plume dispersion & C-ORG cycle study, Von Dam plume. |  |
| --- | --- |
| Description of the Data/Results: |  |
| No signals in LSS or ORP but significant CH4 anomalies throughout cast. |  |
| Overall Map of CTD Cast Area | Screen Grab of Data |
| Overview of Cast site | SeaSave Data Acquisition Screen |
| Please direct inquiries to: | NOAA Office of Ocean Exploration & Research 1315 East-West Highway (SSMC3 10th Floor) Silver Spring, MD 20910 (301) 734-1014 |