| anCTD Cast Name |  | Cruise |  |  |  |  |  | CTD Number |  |  | Date |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | EX1104 |  |  |  |  |  | CTD06 |  |  | 8/13/11 |  |  |  |  |  |  |
| Expedition Coordinator/ Science Team Lead |  | Kelley Elliott/Chris German |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General Area Descriptor |  | Cayman Islands |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Name |  | Mt Hudson |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of CTD Operation |  | Vertical Cast Po-Go |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Tow-Yo Combination |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Target Position |  | 18° 00.00’N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 081° 38.00’W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Deployment Time & Location |  | UTC Time | 0123 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Latitude | 17 |  | º | 59.994 |  |  |  |  |  |  | ‘ |  |  | N |  |
|  |  | Longitude | 81 |  | º | 37.992 |  |  |  |  |  |  | ‘ |  |  | W |  |
| Time & Location At Depth |  | UTC Time | 0232 |  | Target Depth/Range |  |  |  |  | 20 mab |  |  |  |  |  |  |  |
|  |  | Latitude | 17 |  | º |  | 59.995 |  |  |  |  |  |  | ‘ |  |  | N |
|  |  | Longitude | 81 |  | º |  | 37.991 |  |  |  |  |  |  | ‘ |  |  | W |
| Recovery Time & Location |  | UTC Time | 0358 |  | Maximum Depth (m) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Latitude | 17 |  | º | 59.996 |  |  |  |  |  | ‘ |  |  | N |  |  |
|  |  | Longitude | 81 |  | º | 37.990 |  |  |  |  |  | ‘ |  |  | W |  |  |
| CTD Sensor Data Acquired |  | CTD P 0905 T1 5001 T2 5017 C1 3449 C2 3451 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | ORP 08 Votage Channel 05 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LSS 12790 Voltage Channel 02 LSS 12791 Voltage Channel 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Dissolved Oxygen Voltage Channel __ Altimeter Voltage Channel 00 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Other (specify) ____________ Voltage Channel __ ____________ Voltage Channel __ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Samples Collected? |  | Yes No If Yes, Number of Bottles Tripped: ____20_________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample Processing |  | Sample Type(s): ___Methane ________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Processed on board Preserved Chemicals __ __________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | None Room Temp Storage -80 Freezer -20 Freezer Refrigerator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Data Archival |  | Tethys FTP site |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Equipment Malfunctions | None. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Special Notes | None. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Scientists Involved (name / location / affiliation / email) |  | cgerman@whoi.edu & cmcintyre@whoi.edu (WHOI) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Purpose of the CTD operation: Exploring for hydrothermal plume signals, SE of MCR |  |
| --- | --- |
| Description of the Data/Results: |  |
| No plumes observed from in situ sensors. All CH4 samples yielded background values (≤1nM). |  |
| Overall Map of CTD Cast Area | Screen Grab of Data |
| Overview of Cast site | SeaSave Data Acquisition Screen |
| Please direct inquiries to: | NOAA Office of Ocean Exploration & Research 1315 East-West Highway (SSMC3 10th Floor) Silver Spring, MD 20910 (301) 734-1014 |