## Log
EX-21-03
06/13/2021 - 06/27/2021
Norfolk, Virginia - Newport, Rhode Island
Shannon Hoy, shannon.hoy@noaa.gov
Cruise ID: EX2103 | UTC to Local: | -4 | UTC 2 | Cruise Details: JUN 13 - JUN 27, 2021
UTC Time | Ship Time | WatchStander | Item | Note
just start typing your name > and time will populate |  | start here | select from drop down | type in observation
2021-06-12 21:56 | 2021-06-12 17:56 | SH | All Sonars | All survey projects created
2021-06-12 21:56 | 2021-06-12 17:56 | SH | Multibeam | Starting Telnet Session
2021-06-12 22:03 | 2021-06-12 18:03 | SH | Multibeam | All BISTs Passed
2021-06-12 22:05 | 2021-06-12 18:05 | SH | Multibeam | Transmit Power Level is set to - 20dB
2021-06-12 22:11 | 2021-06-12 18:11 | SH | Multibeam | Start pinging - not pinging - probably too shallow. Will wait to test until in deeper waters
2021-06-12 22:11 | 2021-06-12 18:11 | SH | EK | Start pinging . Depth ~8 m.
2021-06-12 22:12 | 2021-06-12 18:12 | SH | Multibeam | Stop Pinging
2021-06-12 22:12 | 2021-06-12 18:12 | SH | EK | Stop pinging
2021-06-12 22:12 | 2021-06-12 18:12 | SH | Multibeam | Power down PU
2021-06-13 13:24 | 2021-06-13 09:24 | SH | Ship | Departed Port
2021-06-13 19:15 | 2021-06-13 15:15 | SH | Ksync | Boot up Ksync
2021-06-13 19:24 | 2021-06-13 15:24 | SH | EK | Start Pinging
2021-06-13 20:03 | 2021-06-13 16:03 | SH | ADCP | Start ADCP to see if 300 is working
2021-06-13 20:04 | 2021-06-13 16:04 | SH | EK | Stop Pinging
2021-06-13 20:13 | 2021-06-13 16:13 | SH | EK | Start Pinging
2021-06-13 20:13 | 2021-06-13 16:13 | SH | ADCP | WH300 looks like it is working. reading 0.5kt current while transiting 10 kts
2021-06-13 21:22 | 2021-06-13 17:22 | SH | ADCP | Stop Pinging
2021-06-13 21:51 | 2021-06-13 17:51 | SH | Multibeam | Power up PU
2021-06-13 21:54 | 2021-06-13 17:54 | SH | Multibeam | Start SIS
2021-06-13 21:56 | 2021-06-13 17:56 | SH | Multibeam | Start Pinging in -20 dB
2021-06-13 21:59 | 2021-06-13 17:59 | SH | Multibeam | Start Recording
2021-06-13 22:03 | 2021-06-13 18:03 | SH | EK | Start Recording
2021-06-13 22:03 | 2021-06-13 18:03 | SH | Knudsen | Start Recording
2021-06-13 22:37 | 2021-06-13 18:37 | SH | SSM | SSM not getting input from SIS 5, downloading new SIS
2021-06-13 22:39 | 2021-06-13 18:39 | SH |  | Restart SIS and CTD Computer - still no fix, downloading new software
2021-06-13 22:49 | 2021-06-13 18:49 | SH | Multibeam | Stop Pinging - realized that data distribution wasn't set up.
2021-06-13 22:52 | 2021-06-13 18:52 | SH | Multibeam | Start Pinging
2021-06-13 22:56 | 2021-06-13 18:56 | NB | Knudsen | Pulse length increase to 0.25 ms
2021-06-13 22:57 | 2021-06-13 18:57 | NB | Watch Change | NB on watch
2021-06-13 22:57 | 2021-06-13 18:57 | NB | Knudsen | Pulse length increase
2021-06-13 22:59 | 2021-06-13 18:59 | NB | EK | Pinging and Recording
2021-06-13 23:00 | 2021-06-13 19:00 | SH | Multibeam | Start Recording
2021-06-13 23:00 | 2021-06-13 19:00 | NB | XBT | XBT 001 applied to SOL 0000
2021-06-13 23:01 | 2021-06-13 19:01 | NB | Knudsen | Tx Pulse 4 ms; Gain 35 dB
2021-06-13 23:03 | 2021-06-13 19:03 | NB | Knudsen | Range at 200m
2021-06-13 23:21 | 2021-06-13 19:21 | SH | Knudsen | Power up to 2
2021-06-13 23:48 | 2021-06-13 19:48 | NB | Knudsen | Tx Pulse 8ms
2021-06-13 23:58 | 2021-06-13 19:58 | NB | Knudsen | Tx Power 3; Gain 45dB
2021-06-14 01:48 | 2021-06-13 21:48 | NB | XBT | XBT 002 applied to SOL 0003
2021-06-14 02:38 | 2021-06-13 22:38 | NB | POS | Brief POS dropout- Alarms in SIS that position data was lost and lamps all red in POS. Corrected itself momentarily
2021-06-14 02:45 | 2021-06-13 22:45 | NB | Knudsen | Tx Power 3; Gain 45dB
2021-06-14 02:52 | 2021-06-13 22:52 | NB | XBT | XBT 003 Applied to SOL 0005
2021-06-14 03:09 | 2021-06-13 23:09 | NB | POS | Continuing to see frequent but short POS dropouts. Lots of error warnings in SIS
2021-06-14 03:19 | 2021-06-13 23:19 | NB | Multibeam | SOL 0006 for turn
2021-06-14 03:30 | 2021-06-13 23:30 | NB | All Sonars | SOL 0007 Out of turn
2021-06-14 04:29 | 2021-06-14 00:29 | NB | XBT | XBT 004 applied to SOL 0008
2021-06-14 05:51 | 2021-06-14 01:51 | NB | XBT | XBT 005 applied to SOL 0010
2021-06-14 06:03 | 2021-06-14 02:03 | NB | All Sonars | New lines all sonars into turn to begin transt to Dive site. SOL 0010
2021-06-14 06:18 | 2021-06-14 02:18 | NB | All Sonars | New lines out of turn. SOL SIS 011
2021-06-14 06:25 | 2021-06-14 02:25 | NB | Other | Went through SV lense in turn, with SSV up to 1528. Didn't get cast in time.
2021-06-14 07:15 | 2021-06-14 03:15 | NB | XBT | XBT 006 applied to SOL 0012
2021-06-14 08:03 | 2021-06-14 04:03 | NB | XBT | XBT 007 applied to SOL 0013. First cast bad from tube 4.
2021-06-14 08:59 | 2021-06-14 04:59 | NB | Knudsen | Tx Power 2
2021-06-14 09:11 | 2021-06-14 05:11 | NB | XBT | XBT 008 applied to SOL 0014
2021-06-14 09:52 | 2021-06-14 05:52 | NB | XBT | XBT 009 applied SOL 0015
2021-06-14 10:21 | 2021-06-14 06:21 | NB | Knudsen | Tx Pulse 4ms
2021-06-14 10:32 | 2021-06-14 06:32 | SH | XBT | Launch XBT 010
2021-06-14 10:40 | 2021-06-14 06:40 | NB | Knudsen | Tx Pulse 2ms
2021-06-14 10:47 | 2021-06-14 06:47 | SH | XBT | AXBT 010 applied to line 0015
2021-06-14 10:48 | 2021-06-14 06:48 | SH | Multibeam | Stop pinging and recording
2021-06-14 10:48 | 2021-06-14 06:48 | SH | EK | Stop pinging and recording
2021-06-14 10:48 | 2021-06-14 06:48 | SH | Knudsen | Stop pinging and recording
2021-06-14 10:49 | 2021-06-14 06:49 | SH | ADCP | Start WH300 and OS38
2021-06-14 10:49 | 2021-06-14 06:49 | SH | Ship | At calibration site
2021-06-14 13:30 | 2021-06-14 09:30 | SH | ADCP | Turn off OS38
2021-06-14 20:08 | 2021-06-14 16:08 | SH | Multibeam | Power Up PU
2021-06-14 20:10 | 2021-06-14 16:10 | SH | Multibeam | Power Up SIS
2021-06-14 20:26 | 2021-06-14 16:26 | SH | All Sonars | Start Pinging
2021-06-14 20:34 | 2021-06-14 16:34 | SH | EK | Start Recording
2021-06-14 20:34 | 2021-06-14 16:34 | SH | Knudsen | Start Recording
2021-06-14 20:45 | 2021-06-14 16:45 | SH | Multibeam | Start recording bathy and WCD
2021-06-14 20:47 | 2021-06-14 16:47 | SH | Multibeam | Watercolumn window not showing
2021-06-14 20:48 | 2021-06-14 16:48 | SH | Multibeam | Restart SIS
2021-06-14 20:49 | 2021-06-14 16:49 | SH | Multibeam | Watercolumn window now showing, restart logging
2021-06-14 20:54 | 2021-06-14 16:54 | SH | All Sonars | All sonars are pinging and recording
2021-06-14 21:07 | 2021-06-14 17:07 | CW | XBT | AXBT 011 conducted and processed, HOWEVER, SSM would not transmit. First action restarting CTD1 computer.
2021-06-14 21:11 | 2021-06-14 17:11 | SH | Multibeam | Restart the CTD computer did not fix the issue. Restarting SIS, the EM304 computer, and the PU to attempt to fix the connection
2021-06-14 21:20 | 2021-06-14 17:20 | SH | Multibeam | Start pinging
2021-06-14 21:28 | 2021-06-14 17:28 | SH | Multibeam | connection is not restored
2021-06-14 21:29 | 2021-06-14 17:29 | CW | XBT | AXBT 011 applied to line 0017. Exported manually to byppass SIS SSM comms issues. Will need to continue manual file movement until issue further resolved.
2021-06-14 21:46 | 2021-06-14 17:46 | CW | All Sonars | Begin main survey lines. MB line 0017
2021-06-14 21:57 | 2021-06-14 17:57 | CW | XBT | AXBT 012; applied to MB line 0017
2021-06-14 22:14 | 2021-06-14 18:14 | CW | XBT | Crazy SV. Did another one. AXBT 013 applied to new MB line 0018
2021-06-14 23:09 | 2021-06-14 19:09 | CW | XBT | AXBT 014; applied to new MB line 0019
2021-06-14 23:22 | 2021-06-14 19:22 | CW | POS | Noticed that Ethernet Logging stopped. Restarted
2021-06-14 23:43 | 2021-06-14 19:43 | NB | Knudsen | Tx power 2; Gain 35dB
2021-06-15 00:04 | 2021-06-14 20:04 | NB | XBT | AXBT 015 applied to SOL 0022
2021-06-15 00:23 | 2021-06-14 20:23 | NB | Multibeam | "MWC Lost" error- no visible impact on data, not sure what this means. Doesn't trigger error in SIS 5 error log.
2021-06-15 01:23 | 2021-06-14 21:23 | NB | XBT | AXBT 016 applied to SOL 0024
2021-06-15 02:02 | 2021-06-14 22:02 | CW | All Sonars | Begin main survey lines. MB line 0026
2021-06-15 02:18 | 2021-06-14 22:18 | CW | XBT | AXBT 017; applied to MB line 0027
2021-06-15 02:44 | 2021-06-14 22:44 | NB | XBT | AXBT 018 applied to SOL 0028
2021-06-15 05:17 | 2021-06-15 01:17 | CW | XBT | AXBT 019; applied to line 0031
2021-06-15 05:48 | 2021-06-15 01:48 | CW | XBT | AXBT 020; applied to line 0032
2021-06-15 05:49 | 2021-06-15 01:49 | CW | Multibeam | Begin turns. MB line 0032
2021-06-15 06:08 | 2021-06-15 02:08 | CW | All Sonars | New survey lines. MB line 0033
2021-06-15 06:47 | 2021-06-15 02:47 | NB | Ship | Speed increase to 9 knts
2021-06-15 06:47 | 2021-06-15 02:47 | NB | XBT | AXBT 021 applied to SOL 0034
2021-06-15 07:07 | 2021-06-15 03:07 | NB | Multibeam | Dropping pings out in SIS, not associated with an alarm, unsure of the source of data issue.
2021-06-15 07:13 | 2021-06-15 03:13 | NB | XBT | AXBT 022 applied to SOL 0035
2021-06-15 07:44 | 2021-06-15 03:44 | NB | All Sonars | SOL 0036 into turn
2021-06-15 07:44 | 2021-06-15 03:44 | NB | Knudsen | Tx power 1; Range 200
2021-06-15 07:54 | 2021-06-15 03:54 | NB | All Sonars | SOL 0037 Out of turn
2021-06-15 08:10 | 2021-06-15 04:10 | NB | Ship | Speed increase to 10 knts
2021-06-15 08:58 | 2021-06-15 04:58 | NB | All Sonars | New lines all sonars. Turning early to reach dive site on time. SOL 0039
2021-06-15 09:03 | 2021-06-15 05:03 | NB | Ship | Coming online starboard of plan due to traffic
2021-06-15 09:08 | 2021-06-15 05:08 | NB | All Sonars | New lines out of turn. SOL 0040
2021-06-15 09:19 | 2021-06-15 05:19 | NB | Knudsen | Tx Pulse 1ms
2021-06-15 09:21 | 2021-06-15 05:21 | NB | Multibeam | Max depth 1000m to stop bad punch through
2021-06-15 09:51 | 2021-06-15 05:51 | NB | All Sonars | New lines all sonars . Start of turn line 0042
2021-06-15 10:01 | 2021-06-15 06:01 | NB | All Sonars | Secure- On station for dive
2021-06-15 10:08 | 2021-06-15 06:08 | NB | ADCP | Pingign and recording
2021-06-15 10:08 | 2021-06-15 06:08 | NB | POS | Switched to Binary- 9600 Baud rate for ROV Ops
2021-06-15 10:08 | 2021-06-15 06:08 | NB | POS | Ethernet logging has turned itself off again- noticed it when changed POS over
2021-06-15 10:20 | 2021-06-15 06:20 | NB | EK | EK in standalone for ROV dive
2021-06-15 20:01 | 2021-06-15 16:01 | CW | Multibeam | PU Started, telnet session running. SIS talking to SSM. No issues
2021-06-15 20:02 | 2021-06-15 16:02 | CW | POS | Settings changed to Mapping Ops; Ethernet Logging ON
2021-06-15 20:05 | 2021-06-15 16:05 | CW | ADCP | Secured
2021-06-15 20:06 | 2021-06-15 16:06 | CW | Multibeam | Enabled in KSync and Pinging
2021-06-15 20:16 | 2021-06-15 16:16 | CW | All Sonars | Enabled in KSync and Pinging
2021-06-15 20:25 | 2021-06-15 16:25 | CW | XBT | AXBT 023; applied to new MB line 0043. SSM can transmit again!
2021-06-15 20:25 | 2021-06-15 16:25 | CW | All Sonars | Recording
2021-06-15 21:16 | 2021-06-15 17:16 | CW | Multibeam | Bridge called and said they left their speed log on.
2021-06-15 21:35 | 2021-06-15 17:35 | CW | Multibeam | Begin long turn. Line 0044
2021-06-15 21:46 | 2021-06-15 17:46 | CW | All Sonars | Begin survey line 0045
2021-06-15 21:46 | 2021-06-15 17:46 | CW | Knudsen | Range 500. Power 2
2021-06-15 21:59 | 2021-06-15 17:59 | CW | XBT | AXBT024; applied to MB line 0045
2021-06-15 22:04 | 2021-06-15 18:04 | SH | Issue/Problem | Bubbles affecting SV sensor
2021-06-15 22:22 | 2021-06-15 18:22 | CW | EK | Bottom Detection was active on 38, 70, and 120. Now deactivated.
2021-06-15 22:42 | 2021-06-15 18:42 | CW | XBT | AXBT 025; applied to MB line 0045
2021-06-15 22:53 | 2021-06-15 18:53 | CW | POS | POS dropping out every 17 minutes. Message Log says "Primary GNSS Observable Rejected set", then immediately after, "Primary GNSS Observable Rejected cleared". Trying to see if it is affecting pings or data, but in this instance it did not.
2021-06-15 23:01 | 2021-06-15 19:01 | CW | Multibeam | Turn line 0047. Yaw Stabilization OFF
2021-06-15 23:12 | 2021-06-15 19:12 | CW | All Sonars | New survey lines. MB line 0048. Yaw Stabilization ON
2021-06-15 23:17 | 2021-06-15 19:17 | NB | Knudsen | Tx pulse 4ms, Gain 35 dB
2021-06-15 23:25 | 2021-06-15 19:25 | CW | Issue/Problem | Send MB line 0048 to Applanix
2021-06-15 23:52 | 2021-06-15 19:52 | NB | XBT | AXBT applied to SOL 0049
2021-06-16 00:29 | 2021-06-15 20:29 | NB | POS | POS "Primary GNSS observable rejected cleared" error at 00:15- corresponds with telnet error "Input error at server" Heading 3600
2021-06-16 00:34 | 2021-06-15 20:34 | NB | POS | POS error 000:32:17. Ping drop in SIS, Telnet and POS error observed
2021-06-16 01:09 | 2021-06-15 21:09 | NB | XBT | AXBT 027 applied to SOL 51
2021-06-16 01:41 | 2021-06-15 21:41 | CW | Multibeam | Turn line 0052
2021-06-16 01:48 | 2021-06-15 21:48 | CW | Multibeam | Endcap line 0053
2021-06-16 02:03 | 2021-06-15 22:03 | CW | Multibeam | Turn line 0054
2021-06-16 02:07 | 2021-06-15 22:07 | CW | All Sonars | New survey lines. MB line 0055
2021-06-16 03:24 | 2021-06-15 23:24 | CW | Multibeam | Turn line 0057
2021-06-16 03:33 | 2021-06-15 23:33 | CW | Multibeam | Endcap line 0058
2021-06-16 03:43 | 2021-06-15 23:43 | CW | Multibeam | Turn line 0059
2021-06-16 03:53 | 2021-06-15 23:53 | CW | All Sonars | New survey lines. MB line 0060
2021-06-16 04:40 | 2021-06-16 00:40 | CW | POS | Ethernet Logging turned itself off. Restarted.
2021-06-16 04:44 | 2021-06-16 00:44 | CW | XBT | AXBT 028; applied to new MB line 0061
2021-06-16 05:13 | 2021-06-16 01:13 | NB | All Sonars | SOL 0062 for turn
2021-06-16 05:43 | 2021-06-16 01:43 | NB | All Sonars | SOL 0063 out of turn
2021-06-16 07:29 | 2021-06-16 03:29 | NB | Knudsen | Tx Pulse 2ms
2021-06-16 07:38 | 2021-06-16 03:38 | NB | Knudsen | Tx power 1
2021-06-16 07:50 | 2021-06-16 03:50 | NB | XBT | AXBT 029 applied to SOL 0066
2021-06-16 07:52 | 2021-06-16 03:52 | NB | Knudsen | Tx Pulse 1`ms
2021-06-16 07:59 | 2021-06-16 03:59 | NB | Knudsen | Range 200
2021-06-16 08:01 | 2021-06-16 04:01 | NB | All Sonars | Start of turn line 0067
2021-06-16 08:05 | 2021-06-16 04:05 | NB | All Sonars | SOL 0068
2021-06-16 08:13 | 2021-06-16 04:13 | NB | All Sonars | SOL 0069
2021-06-16 08:21 | 2021-06-16 04:21 | NB | All Sonars | SOL 0070
2021-06-16 08:27 | 2021-06-16 04:27 | NB | Issue/Problem | Bad Ping dropout. POS GNSS observable error at 08:24 seems to be correlated, Telnet error has no timestamp. Screenshot on M: Drive
2021-06-16 08:40 | 2021-06-16 04:40 | NB | XBT | AXBT 030 applied to SOL0071
2021-06-16 09:06 | 2021-06-16 05:06 | NB | POS | Significant increase in frequency of GNSS observable rejected error. Bad ping drououts.
2021-06-16 09:11 | 2021-06-16 05:11 | NB | XBT | AXBT 031 applied to SOL 0072
2021-06-16 09:25 | 2021-06-16 05:25 | NB | All Sonars | SOL 0073 for turn
2021-06-16 09:29 | 2021-06-16 05:29 | NB | All Sonars | SOL 0072
2021-06-16 09:37 | 2021-06-16 05:37 | NB | Knudsen | Tx pulse 2ms, Range 500
2021-06-16 09:49 | 2021-06-16 05:49 | NB | All Sonars | Secure, on station for dive
2021-06-16 09:50 | 2021-06-16 05:50 | NB | POS | ethernet logging stopped, switched for ROV ops
2021-06-16 09:50 | 2021-06-16 05:50 | NB | ADCP | WH300 and OS38 Logging
2021-06-16 09:51 | 2021-06-16 05:51 | NB | EK | In standaloone
2021-06-16 09:59 | 2021-06-16 05:59 | NB | EK | Troubleshooting EK60s- seeing elongated trigger in K-Sync. Disconneted Ksync and watched pings come in EK UI and saw the same pause in signal.
2021-06-16 10:01 | 2021-06-16 06:01 | NB | EK | Restarting EK GUI
2021-06-16 10:31 | 2021-06-16 06:31 | SH | ADCP | Pinging and Recording
2021-06-16 20:21 | 2021-06-16 16:21 | CW | Multibeam | PU still on from evening ops. New telnet session started. SIS talking to SSM. No issues
2021-06-16 20:57 | 2021-06-16 16:57 | CW | POS | Settings changed to Mapping Ops; Ethernet Logging ON
2021-06-16 21:00 | 2021-06-16 17:00 | CW | ADCP | Secured. Position and Gyro still running for UHDAS observation.
2021-06-16 21:07 | 2021-06-16 17:07 | CW | Multibeam | Enabled in KSync and Pinging
2021-06-16 21:41 | 2021-06-16 17:41 | CW | All Sonars | Enabled in KSync and Pinging
2021-06-16 22:07 | 2021-06-16 18:07 | CW | XBT | AXBT 032; applied to MB line 0076
2021-06-16 22:12 | 2021-06-16 18:12 | CW | All Sonars | Troubleshooting the EM302 / EK pinging rivalry. SBP secured.
2021-06-16 22:50 | 2021-06-16 18:50 | CW | All Sonars | Pinging and recording. EK 38 in passive mode
2021-06-16 23:13 | 2021-06-16 19:13 | SH | EK | 38 is now active
2021-06-16 23:13 | 2021-06-16 19:13 | SH | EK | Power cycle EK Software, Computer, and tranceivers
2021-06-16 23:22 | 2021-06-16 19:22 | NB | Knudsen | Tx Power 2
2021-06-16 23:23 | 2021-06-16 19:23 | NB | Multibeam | Depth gate related data loss 0077
2021-06-16 23:52 | 2021-06-16 19:52 | SH | EK | Power on Tranceivers
2021-06-16 23:56 | 2021-06-16 19:56 | SH | EK | Start Pinging
2021-06-17 00:09 | 2021-06-16 20:09 | CW | XBT | AXBT 033; applied to MB line 0078
2021-06-17 00:34 | 2021-06-16 20:34 | NB | Knudsen | Tx pulse 4ms
2021-06-17 00:41 | 2021-06-16 20:41 | NB | XBT | AXBT 034 applied to SOL 0081
2021-06-17 00:49 | 2021-06-16 20:49 | NB | All Sonars | SOL 0082 for turn
2021-06-17 00:53 | 2021-06-16 20:53 | NB | All Sonars | SOL 0083
2021-06-17 01:07 | 2021-06-16 21:07 | CW | POS | Ethernet logging stopped. Restarting
2021-06-17 01:27 | 2021-06-16 21:27 | NB | All Sonars | SOL 0084 for turn
2021-06-17 01:27 | 2021-06-16 21:27 | NB | All Sonars | SOL 0085
2021-06-17 01:36 | 2021-06-16 21:36 | CW | Knudsen | Power to 3
2021-06-17 02:14 | 2021-06-16 22:14 | CW | All Sonars | New survey lines. MB line 0087
2021-06-17 03:16 | 2021-06-16 23:16 | NB | XBT | AXBT 035 applied to SOL 0089
2021-06-17 05:20 | 2021-06-17 01:20 | NB | XBT | AXBT 036 applied to SOL 0092
2021-06-17 05:54 | 2021-06-17 01:54 | NB | Issue/Problem | Pings dropped. Looking at K-sync, Carbon Black App notification- screenshot on M: drive.
2021-06-17 05:58 | 2021-06-17 01:58 | NB | EK | EK 80 software crash. Restarting. Caused pings to drop out in SIS before crashing. Carbon Black app notification seems unrelated.
2021-06-17 06:05 | 2021-06-17 02:05 | NB | EK | Eks pinging and recording. Restarted software.
2021-06-17 06:23 | 2021-06-17 02:23 | NB | Multibeam | Line 0093 Rel. Mean Heading 0ff (teaching JO Austin)
2021-06-17 06:39 | 2021-06-17 02:39 | NB | XBT | AXBT 037 applied to SOL 0095
2021-06-17 08:28 | 2021-06-17 04:28 | NB | Ship | Slowing to 8 knts.
2021-06-17 08:53 | 2021-06-17 04:53 | NB | XBT | AXBT 038 applied to SOL 0098
2021-06-17 09:58 | 2021-06-17 05:58 | NB | All Sonars | All Sonars secure
2021-06-17 09:59 | 2021-06-17 05:59 | NB | Ksync | Running EK in Standalone
2021-06-17 10:00 | 2021-06-17 06:00 | NB | EK | Pinging and recording
2021-06-17 10:01 | 2021-06-17 06:01 | NB | POS | POS switched over for dive ops and logging ethernet
2021-06-17 10:01 | 2021-06-17 06:01 | NB | ADCP | WH300 recording
2021-06-17 20:37 | 2021-06-17 16:37 | CW | Multibeam | PU started. New telnet session started. SIS NOT talking to SSM.
2021-06-17 21:05 | 2021-06-17 17:05 | CW | POS | Settings changed to Mapping Ops; Ethernet Logging ON
2021-06-17 21:05 | 2021-06-17 17:05 | CW | ADCP | Secured. Position and Gyro still running for UHDAS observation.
2021-06-17 21:05 | 2021-06-17 17:05 | CW | Multibeam | Enabled in KSync and Pinging
2021-06-17 21:15 | 2021-06-17 17:15 | CW | All Sonars | Enabled in KSync and Pinging
2021-06-17 21:33 | 2021-06-17 17:33 | CW | All Sonars | Gulf stream Water Column Transect. EM304 going in to Sonar Mode. EK38 and EK70 in WBT mode (screenshots taken of settings pre and during). SBP still active
2021-06-17 22:56 | 2021-06-17 18:56 | CW | Multibeam | Line 0100. Sonar Mode. Depth limited to 1000m.
2021-06-17 22:56 | 2021-06-17 18:56 | CW | EK | Complex Samples WBT 38 & 70. Sync Delay 300ms. Range recording Depth to 1000m. Interval Mode @ 1000ms.
2021-06-17 23:23 | 2021-06-17 19:23 | NB | EK | EK Complex sampling wasn't checked for some reason. Turned it on and continued pinging and logging. Restarted 2 hr. timer
2021-06-17 23:27 | 2021-06-17 19:27 | NB | Knudsen | Tx pulse 8ms
2021-06-17 23:28 | 2021-06-17 19:28 | NB | EK | EK Crash. Set back up based on screenshots. ES38 and 70 in LFM up Standard Resolution. Complex sampling WBT mode on, Sync delay 300ms and Interval mode at 1000ms. Range recording depth 1000m. Will be agap in MB sonar WC data due to Ksync trigger pausing at crash.
2021-06-17 23:38 | 2021-06-17 19:38 | NB | EK | Started pinging and logging
2021-06-17 23:38 | 2021-06-17 19:38 | NB | EK | EK Crashed again. Adamant error with restart : Could not connect to 3 seperate GPT servers. Error message flashed 4 or 5 times.
2021-06-17 23:40 | 2021-06-17 19:40 | NB | EK | EK crashed again while trying to restart.
2021-06-17 23:44 | 2021-06-17 19:44 | NB | EK | Power cycling computer and transceivers. giving them a 15 minute break. Intend to restart without complex sampling as it seems to be siezing the system up.
2021-06-18 00:07 | 2021-06-17 20:07 | NB | EK | Restarting EK
2021-06-18 00:11 | 2021-06-17 20:11 | NB | EK | Pinging and recording. ES38 and 70 in LFM Up at Standard Resolution, WBT Mode reduced sampling applied, 1000ms ping interval mode, 300ms synch delay. 1000m range recorded. Bottom tracking off.
2021-06-18 00:26 | 2021-06-17 20:26 | NB | EK | Seeing interference at 112m in ES18
2021-06-18 01:33 | 2021-06-17 21:33 | NB | EK | Ping mode maximum
2021-06-18 01:35 | 2021-06-17 21:35 | CW | XBT | AXBT 040; applied to new MB line 0103
2021-06-18 01:37 | 2021-06-17 21:37 | NB | Multibeam | Stopped logging and pinging to troublshoot EK intereference. Doesn't look like the Multibeam is interfering
2021-06-18 01:59 | 2021-06-17 21:59 | NB | Multibeam | Ping mode Medium
2021-06-18 03:33 | 2021-06-17 23:33 | CW | XBT | AXBT 041; applied to new MB line 0106
2021-06-18 04:50 | 2021-06-18 00:50 | NB | POS | Logging stopped on POS, restarted it.
2021-06-18 05:34 | 2021-06-18 01:34 | CW | XBT | AXBT 042; applied to new MB line 0108
2021-06-18 06:04 | 2021-06-18 02:04 | NB | EK | EKs crashed AGAIN!!!
2021-06-18 06:13 | 2021-06-18 02:13 | NB | EK | Pinging and recording EKs. Same configuration as noted above except ping mode is maximum. EDIT- was not pinging in FM.
2021-06-18 07:37 | 2021-06-18 03:37 | NB | XBT | AXBT 043 applied to SOL 0111
2021-06-18 07:37 | 2021-06-18 03:37 | NB | Ship | Slowing to 8 knts.
2021-06-18 09:27 | 2021-06-18 05:27 | SH | Multibeam | Reset to standard operational mode EM304 and EKs. Gulfstream EM304 data ends with line 0112.
2021-06-18 10:04 | 2021-06-18 06:04 | NB | All Sonars | Secure for dive
2021-06-18 10:05 | 2021-06-18 06:05 | NB | POS | POS switched over for dive ops and logging ethernet stopped
2021-06-18 10:05 | 2021-06-18 06:05 | NB | ADCP | WH300 recording
2021-06-18 20:34 | 2021-06-18 16:34 | CW | Multibeam | PU started. New telnet session started. SIS NOT talking to SSM; dang.
2021-06-18 20:49 | 2021-06-18 16:49 | CW | POS | Settings changed to Mapping Ops; Ethernet Logging ON
2021-06-18 20:49 | 2021-06-18 16:49 | CW | ADCP | Secured. Position and Gyro still running for UHDAS observation.
2021-06-18 21:07 | 2021-06-18 17:07 | CW | All Sonars | Troubleshooting EM302. Pinging not showing in main display, but is in Water Column. Restarted computer and PU, and new telnet session. Success! All is well in the world now.
2021-06-18 21:13 | 2021-06-18 17:13 | CW | Multibeam | Enabled in KSync and Pinging
2021-06-18 21:16 | 2021-06-18 17:16 | CW | All Sonars | Enabled in KSync and Pinging
2021-06-18 21:24 | 2021-06-18 17:24 | CW | XBT | AXBT 044; applied to new MB line 0114
2021-06-18 21:25 | 2021-06-18 17:25 | CW | All Sonars | Recording. MB line 0114
2021-06-18 22:22 | 2021-06-18 18:22 | CW | EK | Changed syncronization delay from 200 to 300ms
2021-06-19 00:30 | 2021-06-18 20:30 | CW | POS | Ethernet logging stopped. Restarting.
2021-06-19 01:08 | 2021-06-18 21:08 | CW | XBT | AXBT 045; applied to new MB line 0118
2021-06-19 04:12 | 2021-06-19 00:12 | NB | XBT | AXBT 046 applied to SOL 0122
2021-06-19 07:32 | 2021-06-19 03:32 | NB | Ship | slowing to 9.5 kts
2021-06-19 08:02 | 2021-06-19 04:02 | NB | XBT | AXBT 047 applied to SOL 0126
2021-06-19 09:18 | 2021-06-19 05:18 | NB | Ship | Slowing to 8.5 kts
2021-06-19 09:56 | 2021-06-19 05:56 | NB | All Sonars | Secure as we approach dive site
2021-06-19 09:57 | 2021-06-19 05:57 | NB | POS | Binary with Baud rate 9600 for dive. Ethernet logging stopped
2021-06-19 09:59 | 2021-06-19 05:59 | NB | ADCP | WH300 pinging and recording
2021-06-19 10:01 | 2021-06-19 06:01 | NB | EK | Pinging and recording for dive
2021-06-19 21:13 | 2021-06-19 17:13 | CW | Multibeam | PU still on. No need for all that jazz.
2021-06-19 21:13 | 2021-06-19 17:13 | CW | POS | Settings changed to Mapping Ops; Ethernet Logging ON
2021-06-19 21:13 | 2021-06-19 17:13 | CW | ADCP | Secured. Position and Gyro still running for UHDAS observation.
2021-06-19 21:13 | 2021-06-19 17:13 | CW | Multibeam | Enabled in KSync and Pinging
2021-06-19 21:13 | 2021-06-19 17:13 | CW | Knudsen | Enabled in KSync and Pinging. EK's secured for focused mapping objectives.
2021-06-19 21:13 | 2021-06-19 17:13 | SH | Multibeam | PU-POS is -993 ms. Restarting PU
2021-06-19 21:22 | 2021-06-19 17:22 | SH | Multibeam | PU and SIS back up - difference is now 23 ms.
2021-06-19 21:37 | 2021-06-19 17:37 | CW | XBT | AXBT 048; will be applied to new MB line 0128 when logging
2021-06-19 21:56 | 2021-06-19 17:56 | CW | Multibeam | Start survey. MB line 0128
2021-06-19 22:06 | 2021-06-19 18:06 | CW | POS | Ethernet Logging stopped. Restarted.
2021-06-19 22:19 | 2021-06-19 18:19 | CW | POS | Nav Status varies between Marinestar VBS and Pri. DGPS, as well as GAMS reading Online and Ready Online
2021-06-19 23:08 | 2021-06-19 19:08 | CW | All Sonars | Breaking off for funeral service. Still logging. New MB line 0130
2021-06-19 23:31 | 2021-06-19 19:31 | CW | All Sonars | Back in action. MB line 0131
2021-06-19 23:58 | 2021-06-19 19:58 | CW | Ship | Speeding up to 8.5 for the boring stuff
2021-06-20 00:12 | 2021-06-19 20:12 | CW | POS | Nav Status varies between Marinestar VBS and Pri. DGPS, as well as GAMS reading Online and Ready Online
2021-06-20 00:38 | 2021-06-19 20:38 | CW | Multibeam | Begin turn. MB line 0133
2021-06-20 00:42 | 2021-06-19 20:42 | CW | All Sonars | Endcap line 0134
2021-06-20 00:56 | 2021-06-19 20:56 | CW | Multibeam | Turn line 0135
2021-06-20 01:03 | 2021-06-19 21:03 | CW | All Sonars | Begin new survey lines. MB line 0136
2021-06-20 01:03 | 2021-06-19 21:03 | CW | Knudsen | Range 500
2021-06-20 01:45 | 2021-06-19 21:45 | NB | Ship | Slowing to 8 knts. over Seamount feature
2021-06-20 01:45 | 2021-06-19 21:45 | NB | XBT | AXBT 049 applied to SOL 0137
2021-06-20 02:01 | 2021-06-19 22:01 | NB | Multibeam | Port and Starboard angles to 52/52
2021-06-20 02:01 | 2021-06-19 22:01 | NB | Multibeam | Port and starboard angles to 50/50 to trim bad data at edges
2021-06-20 02:04 | 2021-06-19 22:04 | NB | Multibeam | Starboard angle 45
2021-06-20 02:11 | 2021-06-19 22:11 | NB | Multibeam | Port and Starboard angles 51/48
2021-06-20 02:21 | 2021-06-19 22:21 | NB | Multibeam | Port and Starboard angles 50/45
2021-06-20 02:29 | 2021-06-19 22:29 | NB | Multibeam | Max depth trimmed into 4200 to try and prevent punch through
2021-06-20 02:31 | 2021-06-19 22:31 | NB | Multibeam | Ping mode Very deep, really struggling to find botton in transition threshold between Deeper and Very Deep
2021-06-20 02:53 | 2021-06-19 22:53 | NB | Ship | Shifting turn 4400m North to buy some time in the morning to map the seamount summit with a bit more detail. Dropped pings pretty significantly over summit.
2021-06-20 02:56 | 2021-06-19 22:56 | NB | POS | Nav Status varies between Marinestar VBS and Pri. DGPS, as well as GAMS reading Online and Ready Online
2021-06-20 02:56 | 2021-06-19 22:56 | NB | Multibeam | Max depth back out to 5700- adjusted gradually down seamount. Small depth gate data hole while discussing some plan changes
2021-06-20 03:00 | 2021-06-19 23:00 | NB | Ship | Angles 45/45
2021-06-20 03:01 | 2021-06-19 23:01 | NB | Ship | Speed up to 8.5 knts
2021-06-20 03:04 | 2021-06-19 23:04 | NB | All Sonars | SOL 0139 into turn
2021-06-20 03:09 | 2021-06-19 23:09 | NB | POS | POS dropout for all motion. Lots of log errors- including 'User attitude RMS performance set', 'degraded navigation cleared' etc. all at 0308.
2021-06-20 03:32 | 2021-06-19 23:32 | NB | All Sonars | SOL 0140 for survey
2021-06-20 03:33 | 2021-06-19 23:33 | NB | Multibeam | Port angle trimmed to 40 degrees
2021-06-20 03:35 | 2021-06-19 23:35 | NB | Multibeam | Dropped 2 pings on port side due to angle key sticking.
2021-06-20 03:43 | 2021-06-19 23:43 | NB | Ship | Speed to 8 knts
2021-06-20 03:50 | 2021-06-19 23:50 | NB | Multibeam | Angles to 40/52
2021-06-20 04:32 | 2021-06-20 00:32 | NB | Ship | Speed to 8.5 knts.
2021-06-20 05:30 | 2021-06-20 01:30 | NB | All Sonars | SOL 0142 for turn
2021-06-20 05:38 | 2021-06-20 01:38 | NB | Multibeam | Starboard angle 45
2021-06-20 05:41 | 2021-06-20 01:41 | NB | Multibeam | Angles 40/40
2021-06-20 05:49 | 2021-06-20 01:49 | NB | Multibeam | Angles 35/35
2021-06-20 06:26 | 2021-06-20 02:26 | NB | All Sonars | SOL 0143 into turn
2021-06-20 06:33 | 2021-06-20 02:33 | NB | All Sonars | SOL 0144. Cross line
2021-06-20 06:37 | 2021-06-20 02:37 | NB | XBT | AXBT 050- bad cast, spiked out immediately but continued to collect data. Probably due to wind on starboard stern quarter.
2021-06-20 06:43 | 2021-06-20 02:43 | NB | Multibeam | Angles 40/40
2021-06-20 06:45 | 2021-06-20 02:45 | NB | XBT | AXBT 051 applied to SOL 0145
2021-06-20 06:52 | 2021-06-20 02:52 | NB | Multibeam | Angles 42/42
2021-06-20 07:03 | 2021-06-20 03:03 | NB | Multibeam | Angles 47/47
2021-06-20 07:10 | 2021-06-20 03:10 | NB | Multibeam | Angles 50/50
2021-06-20 07:38 | 2021-06-20 03:38 | NB | Ship | Coming up to 9knts
2021-06-20 08:21 | 2021-06-20 04:21 | NB | All Sonars | SOL 0147 for turn
2021-06-20 08:21 | 2021-06-20 04:21 | NB | Multibeam | Angles 47/47
2021-06-20 08:25 | 2021-06-20 04:25 | NB | POS | Ethernet stopped logging. Restarted
2021-06-20 08:28 | 2021-06-20 04:28 | NB | Multibeam | Start of survey line 0148
2021-06-20 08:29 | 2021-06-20 04:29 | NB | Multibeam | Angles 40/40
2021-06-20 08:40 | 2021-06-20 04:40 | NB | Multibeam | Angles 35/35
2021-06-20 08:49 | 2021-06-20 04:49 | NB | Ship | Slowing to 8 knts to try and improve data quality
2021-06-20 09:44 | 2021-06-20 05:44 | NB | Multibeam | Angles 45/45
2021-06-20 10:04 | 2021-06-20 06:04 | NB | All Sonars | Start of turn line 0150
2021-06-20 10:15 | 2021-06-20 06:15 | NB | Ship | Not diving due to weather. Running center survey line back up north as a second pass and then heading into Block island t oshelter.
2021-06-20 10:49 | 2021-06-20 06:49 | SH | Multibeam | Line 0152 Phase data with seas, Kongsberg equipment testing request-WC phase ON, they aked for Kenlog, we couldn't identify what a Kenlog is.
2021-06-20 10:50 | 2021-06-20 06:50 | SH | XBT | Launch AXBT 052
2021-06-20 10:57 | 2021-06-20 06:57 | SH | Multibeam | Applied to line 0153
2021-06-20 11:03 | 2021-06-20 07:03 | SH | Knudsen | Stop Logging
2021-06-20 11:07 | 2021-06-20 07:07 | SH | Multibeam | Line 0153, Phase ON, With Seas
2021-06-20 11:09 | 2021-06-20 07:09 | SH | Multibeam | Angles opened
2021-06-20 11:11 | 2021-06-20 07:11 | SH | Multibeam | Line 0154, Phase ON, With Seas, Angles Open, Speed 7 kts
2021-06-20 11:41 | 2021-06-20 07:41 | NB | Multibeam | Start of turn line 0155
2021-06-20 12:19 | 2021-06-20 08:19 | SH | Multibeam | Line 0156, Phase ON, Against Seas, Angles Open, Speed 7 kts
2021-06-20 12:22 | 2021-06-20 08:22 | SH | Multibeam | Phase OFF, headed in to Block Island
2021-06-20 12:47 | 2021-06-20 08:47 | SH | Multibeam | Stop recording transit for bad seas - over already mapped area.
2021-06-20 12:49 | 2021-06-20 08:49 | SH | EK | When I went to turn on the EKs, the software had crashed
2021-06-20 13:00 | 2021-06-20 09:00 | SH | Knudsen | Start Recording
2021-06-20 13:00 | 2021-06-20 09:00 | SH | EK | back up and running - start recording
2021-06-20 13:05 | 2021-06-20 09:05 | SH | Multibeam | stop pinging
2021-06-20 19:21 | 2021-06-20 15:21 | CW | Multibeam | Restarting pinging and logging. Line 0158
2021-06-20 19:23 | 2021-06-20 15:23 | CW | All Sonars | Everything is talking!
2021-06-20 19:28 | 2021-06-20 15:28 | SH | XBT | AXBT 053; applied to MB line 0158
2021-06-20 19:42 | 2021-06-20 15:42 | CW | All Sonars | Recording. MB line 0158
2021-06-20 20:40 | 2021-06-20 16:40 | CW | XBT | AXBT 054; applied to new MB line 0159
2021-06-20 21:14 | 2021-06-20 17:14 | CW | Multibeam | Opening angles from 45/45 to 50/50
2021-06-20 22:14 | 2021-06-20 18:14 | CW | Multibeam | Angles to 46/46. Just junk on the outer beams
2021-06-20 22:14 | 2021-06-20 18:14 | CW | Multibeam | SIS Sector Coverage cells did not properly accept the number input by the user. Stbd angle input with 4 instead of 46. Took a chunk out of the data.
2021-06-21 00:30 | 2021-06-20 20:30 | NB | Multibeam | Stepping angles out slowly as we shoal
2021-06-21 00:40 | 2021-06-20 20:40 | NB | Multibeam | Ping Mode Auto- at 3600m and testing to see if Deeper will work.
2021-06-21 00:59 | 2021-06-20 20:59 | NB | Multibeam | Deeper is working with some intermiitent dropouts but not as bad as seen last night over seamount. Depth now at 3500m
2021-06-21 01:00 | 2021-06-20 21:00 | NB | Multibeam | Trimming angles back in - outer edges looking more ragged in Deeper mode. Angles 47/47
2021-06-21 01:02 | 2021-06-20 21:02 | NB | XBT | AXBT 055 applied to line 0163
2021-06-21 01:17 | 2021-06-20 21:17 | NB | Multibeam | Switching back to Very Deep- data dropouts are consistent in Deeper mode and the depth seems stable
2021-06-21 01:22 | 2021-06-20 21:22 | NB | Multibeam | Angles 52/52- stepped out slowly
2021-06-21 01:54 | 2021-06-20 21:54 | NB | Multibeam | telnet time out- restarted for 20210621
2021-06-21 02:30 | 2021-06-20 22:30 | NB | XBT | AXBT 056 applied to line 0165
2021-06-21 02:40 | 2021-06-20 22:40 | NB | Multibeam | Ping Mode Auto
2021-06-21 02:44 | 2021-06-20 22:44 | NB | Multibeam | MWC Lost error flashing more frequently- a few times per minute seems like. No effect on data
2021-06-21 02:47 | 2021-06-20 22:47 | NB | POS | Dropout occurred at 02:44 and MB lost nav information very briefly. Same issue seen previously where LOTS of errors appear in POS log but dropout seems isolated.
2021-06-21 02:48 | 2021-06-20 22:48 | NB | POS | Stopped and restarted logging to save POS message log.
2021-06-21 03:09 | 2021-06-20 23:09 | NB | Multibeam | angles 57/57
2021-06-21 03:09 | 2021-06-20 23:09 | CW | Multibeam | 52/52
2021-06-21 03:22 | 2021-06-20 23:22 | NB | Knudsen | TX pulse 4ms
2021-06-21 03:30 | 2021-06-20 23:30 | CW | POS | Ethernet stopped logging. Restarted
2021-06-21 04:01 | 2021-06-21 00:01 | CW | Multibeam | In Deep mode at 3160 m; getting blowouts at sector borders. Tightened up Max Depth and brought angles to 50/50. It seems to have helped for the moment.
2021-06-21 06:30 | 2021-06-21 02:30 | NB | XBT | AXBT 057 applied to line 0168
2021-06-21 06:39 | 2021-06-21 02:39 | NB | Multibeam | Angles 57/57
2021-06-21 07:45 | 2021-06-21 03:45 | NB | Multibeam | Angles 60/60
2021-06-21 08:45 | 2021-06-21 04:45 | NB | Knudsen | Tx Power 3
2021-06-21 08:53 | 2021-06-21 04:53 | NB | Multibeam | Angles 62/62
2021-06-21 08:55 | 2021-06-21 04:55 | NB | Multibeam | Angles 65/65
2021-06-21 08:59 | 2021-06-21 04:59 | NB | Multibeam | Angles 70/70
2021-06-21 09:02 | 2021-06-21 05:02 | NB | Multibeam | Telnet timeout. restarting
2021-06-21 09:04 | 2021-06-21 05:04 | NB | Multibeam | Angles 65/65. Seeing really ragged edges with gates wide open so trimming down. Seems to be consistent with Deeper mode.
2021-06-21 09:37 | 2021-06-21 05:37 | NB | Multibeam | Angles 62/62
2021-06-21 10:04 | 2021-06-21 06:04 | NB | Ship | Increasing speed to 10 knts
2021-06-21 10:59 | 2021-06-21 06:59 | NB | Multibeam | Depth gate related data loss
2021-06-21 11:01 | 2021-06-21 07:01 | NB | Multibeam | Angles 65/65
2021-06-21 11:30 | 2021-06-21 07:30 | NB | Multibeam | Gates wide open
2021-06-21 11:30 | 2021-06-21 07:30 | NB | All Sonars | Eks degrading ping rate, troubleshooting settings. Lost some MB data along the way
2021-06-21 11:31 | 2021-06-21 07:31 | NB | EK | Secure- degrading multibeam resolution
2021-06-21 11:54 | 2021-06-21 07:54 | SH | Knudsen | Pulse lowered to 2 ms
2021-06-21 12:09 | 2021-06-21 08:09 | SH | Knudsen | Lowered power to 1
2021-06-21 12:31 | 2021-06-21 08:31 | SH | All Sonars | Secure
2021-06-21 14:57 | 2021-06-21 10:57 | SH | Multibeam | USGS Shallow water Survey (80m) Mapping box of opportunity. line 0175
2021-06-21 15:18 | 2021-06-21 11:18 | SH | Multibeam | Start of Survey 0176
2021-06-21 15:38 | 2021-06-21 11:38 | SH | XBT | Launch AXBT 058
2021-06-21 15:43 | 2021-06-21 11:43 | SH | Multibeam | Apply AXBT 058 to 0176
2021-06-21 15:44 | 2021-06-21 11:44 | SH | Multibeam | Add alongtrack tilt of 1 degree
2021-06-21 18:55 | 2021-06-21 14:55 | CW | Knudsen | At range 100 / Phase 100-200 it's just reading second returns. At range 50 /Phase 50 - 100 it's just black garbage. Secured.
2021-06-21 18:55 | 2021-06-21 14:55 | CW | Multibeam | Turn line 0182
2021-06-21 19:05 | 2021-06-21 15:05 | CW | Multibeam | New survey line 0183
2021-06-21 20:56 | 2021-06-21 16:56 | SH | Multibeam | AXBT 059 applied to line 0184
2021-06-21 21:00 | 2021-06-21 17:00 | SH | Multibeam | Stop Recording
2021-06-21 21:06 | 2021-06-21 17:06 | SH | Multibeam | Stop Pinging
2021-06-22 19:24 | 2021-06-22 15:24 | SH | EK | EK software updted to 2.0.1
2021-06-22 21:50 | 2021-06-22 17:50 | CW | All | Getting ready for Mapping Ops after ROV dive cut short for weather. Full plan is still forming
2021-06-22 21:50 | 2021-06-22 17:50 | CW | Multibeam | PU still on. New telnet started.
2021-06-22 21:53 | 2021-06-22 17:53 | CW | POS | Settings changed to Mapping Ops; Ethernet Logging ON
2021-06-22 21:53 | 2021-06-22 17:53 | CW | ADCP | Secured. Position and Gyro still running for UHDAS observation.
2021-06-22 22:04 | 2021-06-22 18:04 | CW | EK | Hudson Canyon EK Survey. 18, 38, 70: installed and active. 120 and 200 are NOT installed.
2021-06-22 22:08 | 2021-06-22 18:08 | CW | EK | 38 and 70 are in Wide Band mode. Set to sequential pinging. Ping mode: interval and set to 500ms.
2021-06-22 22:08 | 2021-06-22 18:08 | CW | EK | Output set to Complex Samples. Range Recording set to Individual. 18 is set to 600m; 38 set to 600m; 70 set to 600m
2021-06-22 22:08 | 2021-06-22 18:08 | CW | EK | Bottom Detection is turned OFF for all sonars.
2021-06-22 22:14 | 2021-06-22 18:14 | CW | EK | First EK line: D20210622- T221619
2021-06-22 22:24 | 2021-06-22 18:24 | CW | EK | Begin survey line 1. Heading 220
2021-06-22 22:53 | 2021-06-22 18:53 | CW | EK | Turn line
2021-06-22 23:08 | 2021-06-22 19:08 | CW | EK | Begin survey line 2. Heading 040
2021-06-22 23:36 | 2021-06-22 19:36 | CW | EK | Turn line
2021-06-23 00:42 | 2021-06-22 20:42 | CW | EK | Begin survey line 3. Heading 220
2021-06-23 00:14 | 2021-06-22 20:14 | CW | EK | Turn line
2021-06-23 00:25 | 2021-06-22 20:25 | CW | EK | Begin survey line 4. Heading 040
2021-06-23 00:26 | 2021-06-22 20:26 | CW | Ship | Bridge is saying that there are a lot of fishing buoy's out there...
2021-06-23 00:34 | 2021-06-22 20:34 | CW | Ship | Moving gently to stbd to avoid fishing vessel
2021-06-23 00:44 | 2021-06-22 20:44 | CW | Ship | Back on trackline
2021-06-23 00:55 | 2021-06-22 20:55 | CW | EK | Turn line
2021-06-23 01:05 | 2021-06-22 21:05 | CW | EK | Begin survey line 5. Heading 220
2021-06-23 01:37 | 2021-06-22 21:37 | CW | EK | Turn line
2021-06-23 01:46 | 2021-06-22 21:46 | CW | EK | Begin survey line 6. Heading 040
2021-06-23 01:52 | 2021-06-22 21:52 | CW | Ship | Had to slightly divert for a high flier
2021-06-23 02:09 | 2021-06-22 22:09 | NB | Ship | Had to slightly divert for a high flier
2021-06-23 02:18 | 2021-06-22 22:18 | NB | EK | Turn line
2021-06-23 02:26 | 2021-06-22 22:26 | NB | EK | Begin Survey line 7. Heading 220
2021-06-23 02:58 | 2021-06-22 22:58 | NB | EK | Turn Line
2021-06-23 03:08 | 2021-06-22 23:08 | NB | EK | Begin Survey line 8. Heading 040
2021-06-23 03:29 | 2021-06-22 23:29 | NB | Ship | Coming offline to port to dodge high flier
2021-06-23 03:40 | 2021-06-22 23:40 | NB | EK | Turn Line
2021-06-23 03:50 | 2021-06-22 23:50 | NB | EK | Begin Survey Line 9. Headng 220
2021-06-23 04:22 | 2021-06-23 00:22 | CW | EK | Turn Line
2021-06-23 04:31 | 2021-06-23 00:31 | CW | EK | Begin Survey line 10. Heading 040
2021-06-23 04:50 | 2021-06-23 00:50 | CW | Ship | More high fliers. Veering slightly
2021-06-23 05:02 | 2021-06-23 01:02 | NB | Ship | Back on planned line
2021-06-23 05:05 | 2021-06-23 01:05 | NB | EK | Turn line
2021-06-23 05:17 | 2021-06-23 01:17 | NB | EK | Begin survey line 11. Heading 220
2021-06-23 05:28 | 2021-06-23 01:28 | NB | EK | Turn Line. Turning onto cross Line up canyon
2021-06-23 05:34 | 2021-06-23 01:34 | NB | EK | Begin Survey cross line. Heading 295
2021-06-23 05:51 | 2021-06-23 01:51 | NB | EK | Increased Ping Interval to 1500ms due to warning that EKs couldn't meet 500ms ping interval. Suggested ping interval was 1500ms. Split file after increasing interval
2021-06-23 06:14 | 2021-06-23 02:14 | NB | EK | Hudson Canyon Water column survey complete! Eks secure
2021-06-23 06:18 | 2021-06-23 02:18 | NB | Multibeam | PU still on. New telnet started.
2021-06-23 06:29 | 2021-06-23 02:29 | NB | Multibeam | Enabled in KSync and Pinging at -20dB for marine mammal start up
2021-06-23 06:31 | 2021-06-23 02:31 | NB | Multibeam | Recording. MB line 0185
2021-06-23 06:30 | 2021-06-23 02:30 | NB | XBT | AXBT 060 applied to SOL 0185
2021-06-23 06:41 | 2021-06-23 02:41 | NB | Multibeam | -10dB
2021-06-23 06:41 | 2021-06-23 02:41 | NB | Ship | Deviated 1/2 mile to Starboard for fishing vessel
2021-06-23 06:53 | 2021-06-23 02:53 | NB | EK | Restored to normal configuration
2021-06-23 06:54 | 2021-06-23 02:54 | NB | Multibeam | Angles 68/68.... It did the thing where SIS enters the angle itself with 6, so dropped pings to port.
2021-06-23 06:56 | 2021-06-23 02:56 | NB | Multibeam | Normal power level
2021-06-23 08:05 | 2021-06-23 04:05 | NB | XBT | AXBT 061 applied to line 0186
2021-06-23 08:20 | 2021-06-23 04:20 | NB | Multibeam | Depth gate related data loss at the center beams on 0186
2021-06-23 08:31 | 2021-06-23 04:31 | NB | XBT | AXBT 062 applied ot line 0187
2021-06-23 09:18 | 2021-06-23 05:18 | NB | Ship | Slowing to 8.5 knts
2021-06-23 10:00 | 2021-06-23 06:00 | NB | Multibeam | Secure
2021-06-23 10:00 | 2021-06-23 06:00 | NB | POS | Switched to binary with baud rate of 9600 for ROV ops. ethernet stopped logging.
2021-06-23 10:00 | 2021-06-23 06:00 | NB | ADCP | WH300 recording
2021-06-23 10:01 | 2021-06-23 06:01 | NB | EK | Pinging and logging
2021-06-23 20:11 | 2021-06-23 16:11 | CW | Multibeam | EM304 PU and CTD-1 restarted multiple times to troubleshoot SIS/SSM talking. Data Distribution reset as well. Nothing worked. New telnet session running.
2021-06-23 21:02 | 2021-06-23 17:02 | CW | POS | Settings changed to Mapping Ops; Ethernet Logging ON
2021-06-23 21:06 | 2021-06-23 17:06 | CW | ADCP | Secured
2021-06-23 21:07 | 2021-06-23 17:07 | CW | Multibeam | Enabled in KSync and Pinging
2021-06-23 21:33 | 2021-06-23 17:33 | CW | All Sonars | Enabled in KSync and Pinging
2021-06-23 21:36 | 2021-06-23 17:36 | CW | XBT | AXBT 063; applied to new MB line 0189.
2021-06-23 21:37 | 2021-06-23 17:37 | CW | All Sonars | Recording. MB line 0189
2021-06-23 22:17 | 2021-06-23 18:17 | CW | Ship | Breaking off transit line to avoid buoy and line up for turn on to legit survey line. MB line 0190
2021-06-23 22:32 | 2021-06-23 18:32 | CW | All Sonars | New survey line 0191
2021-06-23 22:32 | 2021-06-23 18:32 | CW | Ship | Bridge is saying that there are a lot of fishing buoy's out there. Will probably need to divert here and there, but not too profoundly, at least while it is light out.
2021-06-23 22:53 | 2021-06-23 18:53 | NB | All Sonars | Troubleshooting EK ping rate, dropous visible in MB data lin 0191
2021-06-23 22:56 | 2021-06-23 18:56 | NB | EK | Rebooted Eks and ping rate seems to have stabilized. No longer stalling entire cycle.
2021-06-23 23:04 | 2021-06-23 19:04 | NB | EK | DBs output not finding output from 18 kHz GPT, fixed by restart and re-connecting in Output > File > Processsed Data to Output removed channel and re-added
2021-06-23 23:07 | 2021-06-23 19:07 | NB | All Sonars | New lines after turn. SOL 0192
2021-06-23 23:41 | 2021-06-23 19:41 | NB | All Sonars | New line all sonars after turn. SOL 0193- Turns out EKs weren't recording after restart. Now they are
2021-06-23 23:47 | 2021-06-23 19:47 | NB | All Sonars | New lines after turn. SOL 0194
2021-06-23 23:47 | 2021-06-23 19:47 | NB | XBT | AXBT 064 applied to line 0194
2021-06-23 23:53 | 2021-06-23 19:53 | NB | POS | Ethernet stopped logging. Restarted
2021-06-24 01:05 | 2021-06-23 21:05 | CW | XBT | AXBT 065; applied to new MB line 0195 (in the canyon)
2021-06-24 02:00 | 2021-06-23 22:00 | SH | EK | Changed syncronization interval from 200 to 300ms
2021-06-24 02:48 | 2021-06-23 22:48 | NB | All Sonars | New lines all sonars for Wreck hunt recon survey. SOL 0198
2021-06-24 02:50 | 2021-06-23 22:50 | NB | Ship | Slowing to survey speed of 7 knts
2021-06-24 02:50 | 2021-06-23 22:50 | NB | XBT | AXBT 066 applied to 0198
2021-06-24 02:51 | 2021-06-23 22:51 | NB | EK | Bottom detection minimum 300m, latching onto WC noise
2021-06-24 03:21 | 2021-06-23 23:21 | CW | All Sonars | Turn lines. MB line 0199
2021-06-24 03:27 | 2021-06-23 23:27 | CW | All Sonars | New survey lines. MB line 0200
2021-06-24 03:57 | 2021-06-23 23:57 | NB | All Sonars | Turn lines MB 201.
2021-06-24 03:57 | 2021-06-23 23:57 | NB | Multibeam | Gates 60/60
2021-06-24 04:12 | 2021-06-24 00:12 | NB | All Sonars | New survey lines. MB line 0202
2021-06-24 04:37 | 2021-06-24 00:37 | NB | All Sonars | New lines all sonars for turn. SOL 0203
2021-06-24 04:37 | 2021-06-24 00:37 | NB | Multibeam | Along track tilt to 0- was left on 1 from USGS survey project
2021-06-24 04:47 | 2021-06-24 00:47 | NB | All Sonars | New survey lines. SOL 0204
2021-06-24 04:49 | 2021-06-24 00:49 | NB | Ship | Submarine astern of us, but surfaced. Hopefully there's no interference.
2021-06-24 05:15 | 2021-06-24 01:15 | CW | All Sonars | Turn line 0205
2021-06-24 05:22 | 2021-06-24 01:22 | CW | All Sonars | New survey lines 0206
2021-06-24 05:37 | 2021-06-24 01:37 | CW | All Sonars | Turn before crossline 0207
2021-06-24 05:39 | 2021-06-24 01:39 | CW | All Sonars | begin crossline 0208
2021-06-24 05:47 | 2021-06-24 01:47 | CW | All Sonars | Turn after crossline 0209
2021-06-24 05:57 | 2021-06-24 01:57 | CW | All Sonars | begin second crossline 0210
2021-06-24 06:05 | 2021-06-24 02:05 | CW | All Sonars | Turn line 0211
2021-06-24 06:11 | 2021-06-24 02:11 | NB | All Sonars | Transit line 0212
2021-06-24 06:11 | 2021-06-24 02:11 | NB | Ship | reducing speed to 6-6.5 knts, ahead of schedule
2021-06-24 06:19 | 2021-06-24 02:19 | NB | XBT | AXBT 067 applied to line 0212
2021-06-24 06:42 | 2021-06-24 02:42 | NB | Ship | Slowed to 5 - 5.5 knts
2021-06-24 07:38 | 2021-06-24 03:38 | NB | Ship | Slowed to 4 - 4.5 knts
2021-06-24 08:30 | 2021-06-24 04:30 | NB | EK | EK software frozen. restarting. Sonar is still pinging
2021-06-24 08:32 | 2021-06-24 04:32 | NB | EK | Restarted, pinging and recording.
2021-06-24 09:51 | 2021-06-24 05:51 | NB | Knudsen | Tx pulse 4ms
2021-06-24 10:02 | 2021-06-24 06:02 | NB | All Sonars | Secure- on station for dive. K-sync paused
2021-06-24 10:02 | 2021-06-24 06:02 | NB | POS | POS switched over for ROV dive. Ethernet logging stopped.
2021-06-24 10:03 | 2021-06-24 06:03 | NB | ADCP | Already running- ROV team fired up, not sure exactly when
2021-06-24 10:03 | 2021-06-24 06:03 | NB | EK | Pinging and recording. Running as a standalone through K-Sync
2021-06-24 10:34 | 2021-06-24 06:34 | SH | EK | EK WBT Recording Before ROV Dive - FM Mode, Interval 1000 ms, ADCP and Doppler ON, Recording Complex Samples. D20210624-T103533
2021-06-24 10:48 | 2021-06-24 06:48 | NB | ADCP | Passive logging for EK recording. ROV team can give us 30-45 minutes
2021-06-24 10:49 | 2021-06-24 06:49 | NB | EK | Started new EK line for beginning of targeted recording
2021-06-24 10:52 | 2021-06-24 06:52 | NB | Ship | Speedlog secure at breaker
2021-06-24 11:29 | 2021-06-24 07:29 | SH | EK | Switched to CW - ROV mode
2021-06-24 12:45 | 2021-06-24 08:45 | SH | Multibeam | Shutdown the EM304 computer, the PU, and the CTD computer - to try to restore SSM and SIS connection
2021-06-24 13:56 | 2021-06-24 09:56 | SH | Other | Sun Photometer Measurement
2021-06-24 20:27 | 2021-06-24 16:27 | SH | Multibeam | After turning on the PU the PU was stuck on "initializing for a long time and did not move to the fully powered up stage. The EM304 computer was powered down at the time. Restarted the PU and the same thing happened. Power Cycled the EM304 and turned off the PU. Turned on the EM304 computer and turned on the PU - Everything looks good
2021-06-24 20:31 | 2021-06-24 16:31 | SH | EK | stop recording
2021-06-24 20:31 | 2021-06-24 16:31 | SH | EK | stop pinging
2021-06-24 20:31 | 2021-06-24 16:31 | SH | EK | EK WBT Recording Before ROV Dive - FM Mode, Interval 1000 ms, Recording Complex Samples.
2021-06-24 20:33 | 2021-06-24 16:33 | SH | EK | Start Pinging
2021-06-24 20:35 | 2021-06-24 16:35 | SH | EK | EK Froze - Force quit EK 80 Software
2021-06-24 20:37 | 2021-06-24 16:37 | SH | EK | EK Software back up and Pinging - set up for EK WBT Recording Before ROV Dive
2021-06-24 20:54 | 2021-06-24 16:54 | CW | POS | Changed for Mapping Ops. Ethernet Logging ON
2021-06-24 20:54 | 2021-06-24 16:54 | CW | ADCP | Sounder secured. Gyro and Position running.
2021-06-24 21:18 | 2021-06-24 17:18 | CW | EK | Start file for project: D20210624-T211735
2021-06-24 22:13 | 2021-06-24 18:13 | CW | EK | End file for project: D20210624-T220956
2021-06-24 22:16 | 2021-06-24 18:16 | CW | Multibeam | Start pinging. Angles 65/65
2021-06-24 22:17 | 2021-06-24 18:17 | CW | All Sonars | Logging. MB line 0216
2021-06-24 22:26 | 2021-06-24 18:26 | CW | XBT | AXBT 068; applied to MB line 0216
2021-06-24 22:56 | 2021-06-24 18:56 | NB | EK | EKs delaying K-sync ping rate. Troubleshooting. Dropouts in MB visible. Line 0216
2021-06-24 22:57 | 2021-06-24 18:57 | NB | EK | Synchronization delay causing K-sync ping rate delay, able to change it in EK and control ping cycle. Leaving synchronization at 300ms for EK data quality (interference form MB visible otherwise), MB only slightly delayed as a result. Will continue to monitor
2021-06-25 00:31 | 2021-06-24 20:31 | NB | All Sonars | New lines for start of Muskallunge survey. MB line 0219
2021-06-25 00:32 | 2021-06-24 20:32 | NB | XBT | AXBT 069 applied to linew 0219
2021-06-25 00:52 | 2021-06-24 20:52 | NB | Ship | Fishing vessel with gear in the water doing some maneuvering in the area, not sure if we'll have to break line to avoid but keeping tabs
2021-06-25 01:31 | 2021-06-24 21:31 | NB | All Sonars | Turn line 0220. Shiftedline plan 150m to NW for coverage on next line.
2021-06-25 01:31 | 2021-06-24 21:31 | NB | Multibeam | Gates 60/60
2021-06-25 01:41 | 2021-06-24 21:41 | NB | Multibeam | Gates briefly to 60/55 then back to 60/60
2021-06-25 02:38 | 2021-06-24 22:38 | CW | All Sonars | Turn. MB line 0222.
2021-06-25 02:38 | 2021-06-24 22:38 | CW | Multibeam | Line shifted 100m to the NW for coverage. Total offset is 250m from original line plan.
2021-06-25 02:47 | 2021-06-24 22:47 | CW | All Sonars | New survey lines. MB line 0223
2021-06-25 03:05 | 2021-06-24 23:05 | CW | Multibeam | AXBT 070; applied to MB line 0223
2021-06-25 03:47 | 2021-06-24 23:47 | CW | All Sonars | Turn line 0224
2021-06-25 03:48 | 2021-06-24 23:48 | CW | Multibeam | Shifting line plan again. 400m shift to the NW. Now 650m total from original line plan.
2021-06-25 04:55 | 2021-06-25 00:55 | NB | All Sonars | Turn line 0227
2021-06-25 04:55 | 2021-06-25 00:55 | NB | Multibeam | Shifting onto orginial line plan and running line number 4 in opposite direction (to the NE) to simplify these offsets
2021-06-25 05:09 | 2021-06-25 01:09 | NB | All Sonars | Surveyline 4, heading 055. SOL 0228
2021-06-25 06:04 | 2021-06-25 02:04 | NB | All Sonars | Turn line 0228.
2021-06-25 06:05 | 2021-06-25 02:05 | NB | Multibeam | Skipping line 5 for time. Proceeding to run lines as planned with line 6
2021-06-25 06:08 | 2021-06-25 02:08 | NB | POS | Ethernet stopped logging. Restarted
2021-06-25 06:13 | 2021-06-25 02:13 | NB | Knudsen | Range 500
2021-06-25 06:21 | 2021-06-25 02:21 | NB | All Sonars | New lines for survey line 6, heading 230. SOL 0230
2021-06-25 06:26 | 2021-06-25 02:26 | NB | Ship | Increasing speed to 9.5 knts- a bit behind schedule despite skipping line 5.
2021-06-25 07:01 | 2021-06-25 03:01 | NB | XBT | AXBT 071 applied to line 0230
2021-06-25 07:11 | 2021-06-25 03:11 | NB | All Sonars | Turn line. SOL 0231
2021-06-25 07:21 | 2021-06-25 03:21 | NB | All Sonars | New lines for survey line 7, heading 055. MB line 0232
2021-06-25 07:55 | 2021-06-25 03:55 | NB | Ship | Slowing to 6 knts as we approach potential wreck point. Slowing a smidge early to avoid a shipping vessel in the area
2021-06-25 08:20 | 2021-06-25 04:20 | NB | All Sonars | Turn line 0233
2021-06-25 08:49 | 2021-06-25 04:49 | NB | All Sonars | New survey line 8, heading 230. New MB line 0234. Still running at 6knts
2021-06-25 08:49 | 2021-06-25 04:49 | NB | Ship | Increasing speed to max (10ish knts)
2021-06-25 09:02 | 2021-06-25 05:02 | NB | All Sonars | Secure- Switching into EK WBT Recording Before ROV Dive.
2021-06-25 09:03 | 2021-06-25 05:03 | NB | EK | Ek has been in fixed range at 500m likely since last night. Must've been changed in troubleshooting and forgotten about.
2021-06-25 09:04 | 2021-06-25 05:04 | NB | EK | Pinging and recording in WBT with complex sampling on. Range at 900m, bottom detection off.
2021-06-25 09:56 | 2021-06-25 05:56 | NB | Ship | Approaching dive site
2021-06-25 09:57 | 2021-06-25 05:57 | NB | POS | Stopped logging. Switched into Binary, baud rate 9600 for ROV operations.
2021-06-25 09:58 | 2021-06-25 05:58 | NB | ADCP | WH300 recording
2021-06-25 09:58 | 2021-06-25 05:58 | NB | EK | Leaving as is to continue water column focused recording
2021-06-25 11:09 | 2021-06-25 07:09 | NB | EK | Recording and logging in normal setting configuration for ROV ops. Focused survey complete.
2021-06-25 20:25 | 2021-06-25 16:25 | CW | Multibeam | PU still on. New telnet started.
2021-06-25 20:55 | 2021-06-25 16:55 | CW | POS | Settings changed to Mapping Ops; Ethernet Logging ON
2021-06-25 20:57 | 2021-06-25 16:57 | CW | ADCP | Sounder secured. Gyro and Position running.
2021-06-25 21:16 | 2021-06-25 17:16 | CW | Multibeam | Enabled in KSync and Pinging
2021-06-25 21:16 | 2021-06-25 17:16 | CW | All Sonars | Enabled in KSync and Pinging
2021-06-25 21:27 | 2021-06-25 17:27 | CW | All Sonars | Recording. MB line 0235
2021-06-25 21:37 | 2021-06-25 17:37 | CW | XBT | AXBT 072; applied to new MB line 0235.
2021-06-25 21:41 | 2021-06-25 17:41 | CW | POS | GAMS jumping between Ready and Ready Online, practically like a metronome. Maybe the upcoming turn will wake it up.
2021-06-29 16:58 | 2021-06-29 12:58 | CW | All Sonars | New lines for new heading. MB line 0236
2021-06-25 22:24 | 2021-06-25 18:24 | CW | POS | GAMS still jumping around.
2021-06-25 22:48 | 2021-06-25 18:48 | CW | All Sonars | Turns. MB line 0237
2021-06-25 23:03 | 2021-06-25 19:03 | NB | All Sonars | Start line 2 of focused survey area. MB line 0238
2021-06-25 23:58 | 2021-06-25 19:58 | NB | All Sonars | Turn line. MB line 0239
2021-06-26 00:08 | 2021-06-25 20:08 | NB | All Sonars | Survey line 3 Heading 210. MB line 0240
2021-06-26 00:35 | 2021-06-25 20:35 | NB | POS | Massive error dropout that we've been seeing is back. Seems to be happening. WE ARE THRASHING! Restarting POS ethernet logging
2021-06-26 00:41 | 2021-06-25 20:41 | NB | All Sonars | New line for Thrashing Maneuver
2021-06-26 00:41 | 2021-06-25 20:41 | NB | Ship | Coming about in a tight 360 turn to come back on line behind where we started, hopefully this will remedy POS dropouts.
2021-06-26 00:47 | 2021-06-25 20:47 | NB | All Sonars | New lines as we come back on planned survey line. SOL 0242.
2021-06-26 00:47 | 2021-06-25 20:47 | NB | POS | Closely monitoring for further thrashing dropouts
2021-06-26 00:50 | 2021-06-25 20:50 | NB | POS | Thrashing again. Lots of screenshots of lamps going out and ping drops in MB
2021-06-26 00:51 | 2021-06-25 20:51 | NB | Ship | Aggressive Maneuver for thrashing. doing a bobby pin turn
2021-06-26 00:52 | 2021-06-25 20:52 | NB | All Sonars | New lines all sonars for thrashing maneuvers
2021-06-26 01:14 | 2021-06-25 21:14 | NB | EK | synchronization delay 100ms. interference layer gone for now
2021-06-26 01:19 | 2021-06-25 21:19 | NB | All Sonars | New lines all sonars for turn. MB line 0244
2021-06-26 01:30 | 2021-06-25 21:30 | NB | All Sonars | New lines all sonars for survey line 4. Heading 040. MB line 0245
2021-06-26 02:08 | 2021-06-25 22:08 | CW | XBT | AXBT073; applied to MB line 0245
2021-06-26 02:30 | 2021-06-25 22:30 | CW | All Sonars | Turn lines. MB line 0246
2021-06-26 02:38 | 2021-06-25 22:38 | CW | All Sonars | Survey line 5 Heading 210. MB line 0247
2021-06-26 03:36 | 2021-06-25 23:36 | NB | All Sonars | New lines all lsonars for turn. SOL 0248
2021-06-26 03:54 | 2021-06-25 23:54 | NB | All Sonars | Survey line 6, heading 040. SOL 0249
2021-06-26 03:54 | 2021-06-25 23:54 | NB | Multibeam | Gates 60/70 to try to avoid Holiday as we edgematch previous surface.
2021-06-26 03:57 | 2021-06-25 23:57 | NB | Ship | Deviating to port for high flier
2021-06-26 04:06 | 2021-06-26 00:06 | NB | Ship | Easing back onto planned line
2021-06-26 04:15 | 2021-06-26 00:15 | NB | Multibeam | Gates 60/60
2021-06-26 04:47 | 2021-06-26 00:47 | NB | All Sonars | Turn line 0250
2021-06-26 05:01 | 2021-06-26 01:01 | NB | All Sonars | Survey line 7, Heading 210. SOL 060
2021-06-26 05:22 | 2021-06-26 01:22 | NB | Multibeam | Gates 65/60, forming small holiday to Port
2021-06-26 05:51 | 2021-06-26 01:51 | NB | All Sonars | Turn line 0252
2021-06-26 05:51 | 2021-06-26 01:51 | NB | Multibeam | Gates 60/60
2021-06-26 05:52 | 2021-06-26 01:52 | NB | Ship | Deviating from line plan due to timing. Instead of finishing lines 8 and 9, turning to port and shooting up gap between lines 5 and 6 to fill small holiday, and then rejoing transit line to dive site.
2021-06-26 05:55 | 2021-06-26 01:55 | NB | All Sonars | new line for small transit
2021-06-26 06:02 | 2021-06-26 02:02 | NB | All Sonars | Turn line 0254
2021-06-26 06:05 | 2021-06-26 02:05 | NB | All Sonars | SOL 0255 for transit line
2021-06-26 06:12 | 2021-06-26 02:12 | NB | XBT | AXBT 074 applied to line 0255
2021-06-26 06:16 | 2021-06-26 02:16 | NB | Ship | Increasing speed to 8 knts
2021-06-26 06:34 | 2021-06-26 02:34 | NB | All Sonars | Back on planned survey lines. SOL 0256
2021-06-26 06:56 | 2021-06-26 02:56 | NB | All Sonars | New lines for slight turn. SOL 0257
2021-06-26 07:03 | 2021-06-26 03:03 | NB | Multibeam | Gates 65/65 for coverage
2021-06-26 07:07 | 2021-06-26 03:07 | NB | Multibeam | Gates 68/65
2021-06-26 07:08 | 2021-06-26 03:08 | NB | All Sonars | New lines for slight heading change. SOL 0258
2021-06-26 07:09 | 2021-06-26 03:09 | NB | Multibeam | Gates 60/60
2021-06-26 07:40 | 2021-06-26 03:40 | NB | Ship | Slowing to 6 knts.
2021-06-26 08:07 | 2021-06-26 04:07 | NB | Ksync | EKs slowing ping cycle in K-sync.
2021-06-26 07:57 | 2021-06-26 03:57 | NB | EK | UI frozen. Restarting.
2021-06-26 08:00 | 2021-06-26 04:00 | NB | EK | Computer not responing, restarting
2021-06-26 08:07 | 2021-06-26 04:07 | NB | EK | Pinging and recording again, no longer delaying ping cycle.
2021-06-27 08:07 | 2021-06-27 04:07 | NB | All Sonars | Turn line 0260
2021-06-26 08:24 | 2021-06-26 04:24 | NB | Ship | Slowing to 4.5 knts.
2021-06-26 08:26 | 2021-06-26 04:26 | NB | XBT | AXBT 075 applied to line 0261
2021-06-26 09:04 | 2021-06-26 05:04 | NB | All Sonars | Turn line 0262
2021-06-26 09:22 | 2021-06-26 05:22 | NB | All Sonars | MB line 0263- Muskallung line 2
2021-06-26 09:47 | 2021-06-26 05:47 | NB | All Sonars | Turn line 0264
2021-06-26 10:00 | 2021-06-26 06:00 | NB | All Sonars | MB line 0265- final pass of Muskallunge site. Approaching slowly and then essentially drifting over site itself.
2021-06-26 10:07 | 2021-06-26 06:07 | NB | All Sonars | Secure. Arrived at Dive site
2021-06-26 10:09 | 2021-06-26 06:09 | NB | POS | Binary, 9600 Baud rate for ROV dive
2021-06-26 10:09 | 2021-06-26 06:09 | NB | ADCP | Pinging and recording in restricted project for dive
2021-06-26 10:11 | 2021-06-26 06:11 | NB | EK | Pinging and recording with bottom detection off, recording range to 700m for ROV dive.
2021-06-26 20:54 | 2021-06-26 16:54 | CW | Multibeam | PU still on. New telnet started.
2021-06-26 21:08 | 2021-06-26 17:08 | CW | POS | Settings changed to Mapping Ops; Ethernet Logging ON
2021-06-26 21:08 | 2021-06-26 17:08 | CW | ADCP | Sounder secured. Gyro and Position running.
2021-06-26 21:08 | 2021-06-26 17:08 | CW | Multibeam | Enabled in KSync and Pinging
2021-06-26 21:16 | 2021-06-26 17:16 | CW | All Sonars | Enabled in KSync and Pinging
2021-06-26 21:35 | 2021-06-26 17:35 | CW | All Sonars | Recording. MB line 0266
2021-06-26 21:42 | 2021-06-26 17:42 | CW | XBT | AXBT 076; applied to MB line 0266
2021-06-26 21:47 | 2021-06-26 17:47 | CW | All Sonars | New lines for new heading. MB line 0267
2021-06-26 21:50 | 2021-06-26 17:50 | CW | POS | Ethernet stopped logging. Restarted
2021-06-26 21:56 | 2021-06-26 17:56 | CW | Multibeam | SIS 5 Follow Vessel and Zoom to Vessel functions are inoperable in Main Display. Still works in Helmsan though. Weird. Not going to restart SIS or anyting; just noting it.
2021-06-26 22:03 | 2021-06-26 18:03 | CW | POS | one isolated missed ping event. Noted in the POS message log as well.
2021-06-26 22:12 | 2021-06-26 18:12 | CW | All Sonars | New heading. MB line 0268
2021-06-26 22:23 | 2021-06-26 18:23 | CW | All Sonars | New heading MB line 0269
2021-06-26 22:42 | 2021-06-26 18:42 | SH | All Sonars | Secured for the duration of the cruise
Formulas:
UTC to Local: = IF(ISBLANK([Cruise ID: EX2103])," ",(([Cruise ID: EX2103])-DATE(1970,1,1))+25569+(C6/24))

## Dropdowns
Watchstanders | Item
NB | All Sonars
CW | Multibeam
DS | EK
SH | Knudsen
KJ | All
JD | ADCP
JM | Ksync
MW | speedlog
ML | TSG
AB | Ship
DF | Weather
EH | Watch Change
SC | XBT
Issue/Problem
POS
Other
KVM
Marine Mammal
SSM