| CTD Cast Name |  | Cruise |  |  |  |  |  | CTD Number |  |  | Date |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | EX1205L1 |  |  |  |  |  | CTD001 |  |  | 7/12/2012 |  |  |  |  |  |  |
| Expedition Coordinator/ Science Team Lead |  | Kelley Elliott/Cindy Van Dover |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General Area Descriptor |  | Blake Ridge |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Name |  | Blake Ridge Diapir |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of CTD Operation |  | Vertical Cast Po-Go |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Tow-Yo Combination |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Target Position |  | 32° 29.453’N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 76° 11.618’W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Deployment Time & Location |  | UTC Time | 22:08 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Latitude | 32 |  | º | 29.629 |  |  |  |  |  |  | ‘ |  |  | N |  |
|  |  | Longitude | 76 |  | º | 11.892 |  |  |  |  |  |  | ‘ |  |  | W |  |
| Time & Location At Depth |  | UTC Time | 2246 |  | Target Depth/Range |  |  |  |  | 20 mab (2200m) |  |  |  |  |  |  |  |
|  |  | Latitude | 32 |  | º |  | 29.639 |  |  |  |  |  |  | ‘ |  |  | N |
|  |  | Longitude | 76 |  | º |  | 11.453 |  |  |  |  |  |  | ‘ |  |  | W |
| Recovery Time & Location |  | UTC Time | 0006 |  | Maximum Depth (m) |  |  |  |  | 1409 |  |  |  |  |  |  |  |
|  |  | Latitude | 32 |  | º | 29.603 |  |  |  |  |  | ‘ |  |  | N |  |  |
|  |  | Longitude | 76 |  | º | 11.495 |  |  |  |  |  | ‘ |  |  | W |  |  |
| CTD Sensor Data Acquired |  | CTD P 0906 T1 5023 T2 5026 C1 3455 C2 3456 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | ORP 07 Votage Channel 05 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LSS 12790 Voltage Channel 02 LSS 12791 Voltage Channel OFF |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Dissolved Oxygen Voltage Channel 04 Altimeter Voltage Channel 00 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Other (specify) ____________ Voltage Channel __ ____________ Voltage Channel __ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Samples Collected? |  | Yes No If Yes, Number of Bottles Tripped: _____________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample Processing |  | Sample Type(s): ___ ________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Processed on board Preserved Chemicals _______________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | None Room Temp Storage -80 Freezer -20 Freezer Refrigerator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Data Archival |  | Tethys FTP site |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Equipment Malfunctions | Dissolved oxygen sensor not in line with other sensors – very jagged profile. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Special Notes | Extremely strong current – aborted cast at 1400m to reposition ship and attempt cast closet to target site. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Scientists Involved (name / location / affiliation / email) |  | Chris German (WHOI), cgerman@whoi.edu Cindy Van Dover (Duke), clv3@duke.edu Laura Brothers (USGS), lbrothers@usgs.gov |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Purpose of the CTD operation: Acquire data over the Cape Fear Diapir |  |
| --- | --- |
| Description of the Data/Results: |  |
| Overall Map of CTD Cast Area | Screen Grab of Data |
| Overview of Cast site | SeaSave Data Acquisition Screen |
| Please direct inquiries to: | NOAA Office of Ocean Exploration & Research 1315 East-West Highway (SSMC3 10th Floor) Silver Spring, MD 20910 (301) 734-1014 |